## Transmission Missing Benefits
Transmission Project No | Project name | Benefit Id | Benefit indicated | Monetized value provided? | Qualitative Information and/or quantified values (MWh/year) | Monetized Value - one time only | Value of benefit at Scenario 1 (M€/year) | Value of benefit at Scenario 2 (M€/year)2 | Value of benefit at Scenario 3 (M€/year)3 | Value of benefit at Scenario 4 (M€/year)4 | Share of the benefit pertaining to EU countries | ENTSO-E assessment: [redacted because ENTSO-E do not wish their assessment to be published] | NRAs assessment | NRA assessment code | Legent for NRA assessment / colour code
1 | RES in north of Portugal | 1 | Reductions of costs for ancillary services | no | [8 empty] | No assessment was provided |  | A: Approve
1 | RES in north of Portugal | 6 | Reduction of necessary reserve for re-dispatch power plants | no | [8 empty] | No assessment was provided |  | R: Reject
4 | Interconnection Portugal-Spain | 2 | Reduction of emissions (non-CO2) | no | [8 empty] | ES NRA: no monetized values were submitted by the promoter, thereforeit cannot be assessed | R | R: One NRA rejects and the other "no data" or "not able to assess"
4 | Interconnection Portugal-Spain | 1 | Reductions of costs for ancillary services | yes |  |  | 0.8 | 2.7 | 1.6 | 1.4 | 100% |  | ES NRA: According to promoter's communication, the calculated benefit regarding Missing Benefit “A.1 Reduction of costs for ancillary services” belong to the Declared Values “D.3 Monetarisation of B7 indicator: Security of Supply – System flexibility” . Therefore, it should no be considered for benefit D3 (B7 felxibility) | R | D: Disagreement
16 | Biscay Gulf | 2 | Reduction of emissions (non-CO2) | yes |  |  | 0.5 | 120.6 | 76.2 | 10.8 | 100% |  | In general, the FR and ES NRAs (CRE and CNMC respectively) agree that further methodology refinements are need to monetarize the missing benefits. They also agree that the methodology used for the non-CO2 emissions results is the same than for the CO2 emissions in ENTSOE’s CBA. However, on the calculated values: - CNMC proposes to consider the values suggested, as they have been calculated according to the ENTSOE guidelines and are the best estimation with the available data, correcting the missing negative values in the 2025 BE scenario, and using the average value of the range proposed by REE to monetarize the missing benefits. - CRE considers that, as it stands, the methodology is not robust enough, both in terms of the monetization of the damages costed by non-CO2 emissions and the exact effect the emissions stemming from the generating facilities have on population’s health (which is the background principle of the estimation). Moreover, the impact on GHG emissions due to the generation plants that have to generate electricity to compensate the losses induced by the interconnection is not taken into account (this could have a substantial impact and should be assessed). Therefore, without denying that the interconnection could have an effect on non CO2 emissions, the monetization remains too uncertain to be taken into account to assess the interconnection, and added to other benefits. | D | N/A: Cannot assess
26 | Reschenpass Interconnector Project | 2 | Reduction of emissions (non-CO2) | no | [8 empty] | AT NRA: E-Control cannot comment on the missing benefits for the projects 26, 322 and 375 as they were not delivered by the Austrian TSO and are not based on a methodology discussed and/or approved with/by E-Control IT NRA: ARERA observes no data are provided. | R | COR: Approved, but benefit was corrected
26 | Reschenpass Interconnector Project | 1 | Reductions of costs for ancillary services | yes |  |  | 100.2 | 52.8 | 57.3 | 4.4 | 100% |  | AT NRA: E-Control cannot comment on the missing benefits for the projects 26, 322 and 375 as they were not delivered by the Austrian TSO and are not based on a methodology discussed and/or approved with/by E-Control IT NRA: Arera: ARERA has no information regarding the project. No objection | A
28 | Italy-Montenegro | 2 | Reduction of emissions (non-CO2) | yes |  |  |  | 0.5 | 14.1 |  | 47% |  | IT NRA: ARERA rejects due to inappropriate clustering of TYNDP project 28 | R
28 | Italy-Montenegro | 1 | Reductions of costs for ancillary services | yes |  |  | 0.8 | 25.7 | 20.1 |  | 100% |  | IT NRA: ARERA rejects due to inappropriate clustering of TYNDP project 28 | R
29 | Italy-Tunisia | 2 | Reduction of emissions (non-CO2) | yes |  |  |  |  | 0.6 |  |  |  | IT NRA: ARERA has no EU-wide information on this benefit. No objection | A
31 | Italy-Switzerland | 2 | Reduction of emissions (non-CO2) | no | [8 empty] | IT NRA: ARERA observes no data are provided | R
31 | Italy-Switzerland | 1 | Reductions of costs for ancillary services | yes |  |  | 188.4 | 42.9 | 75 | 5.8 | 100% |  | IT NRA: ARERA has no information regarding the project. No objection | A
33 | Central Northern Italy | 2 | Reduction of emissions (non-CO2) | yes |  |  |  | 1.4 |  |  | 81% |  | IT NRA: ARERA has no EU-wide information on this benefit. No objection | A
33 | Central Northern Italy | 1 | Reductions of costs for ancillary services | yes |  |  | 13 | 22 | 14 |  | 100% |  | IT NRA: ARERA reduces to 20 Meur/y in ST2030 and 12 Meur/y in DG2030 | COR
35 | CZ Southwest-east corridor | 2 | Reduction of emissions (non-CO2) | yes |  |  | 4.49 | 14.73 | 8.74 | 8.74 | Czech Republic |  | CZ NRA:We agree that this missing benefits could be included in the TYNDP. Due to very specific content of the study, It is not included nor its benefits in the NDP 2019-2028 draft. However, calculation of missing benefits was shared informally with NRA and is also published in TYNDP 2018 project sheet list. Missing benefits are generated by adding extra connection capacity of 100 MW of RES, which is not covered by CBA. The draft of NDP contains an assumption of new RES connected to the substation Vitkov. | a
74 | Thames Estuary Cluster (NEMO-Link) | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 15 | 15 | 15 | 15 | UK |  | BE NRA: This is a benefit is claimed only for the UK side. UK NRA: We note that the Poyry study referenced is not focussed specifically on this project, however we consider the same principals set out in that report to apply to this project. This report does discuss separate capacity and ancillary service benefits, although it does not quantity them. As such Ofgem do see a distinction between the missing benefits under submission id 2847 and 2856. Conclusion: Ofgem agree with ENTSO-E that this submitted value should not be included. | R
74 | Thames Estuary Cluster (NEMO-Link) | 1 | Reductions of costs for ancillary services | yes |  |  | 10 | 10 | 10 | 10 | UK |  | BE NRA: BE side: The CREG can confirm that this project has some benefits based on its MVAR contribution, but does not have the data to quantify these benefits. UK NRA: Figures provided are from NGET cap and floor reports rather than the Poyry report. We would note that these figures are commercially sensitive and are specific to cap and floor window 2 projects, in which this project is not included. Therefore whilst we agree there is theoretical benefit, we do not believe the figures provided are appropriate. | R
92 | ALEGrO | 1 | Reductions of costs for ancillary services | yes | Qualitative Information: need for MVAR expressed in Elia's NDP 2020-2030, publicly available as from autumn 2018. Quantification based on avoided alternative investments of 300MVAR Statcom = 36M€, this gives 3M€/yr benefit over 25 years @6%. On top of the Mvar contribution from the HVDC VSC converters, there could be additional benefits from ancillary services for e.g. balancing purposes, black start functionality - which have not been quantified. |  | 3 | 3 | 3 | 3 | Belgium |  | BE NRA: BE side: The CREG can confirm that this project has some benefits based on its MVAR contribution, but does not have the data to quantify these benefits. | N/A
107 | Celtic Interconnector | 1 | Reductions of costs for ancillary services | yes |  |  | 2 | 2 | 2 | 2 | 100% |  | IE NRA: Study outcome not supported by modelling therefore we lack information to provide any views on this benefit. We recommend not to consider it further. FR NRA: Rejected The study provided doesn’t provide enough justification. In addition to the lack of modelling spotted by ENTSOE, it lacks evidence regarding the amount of reactive power that would be provided by the interconnection, and justification of the amount of CAPEX avoided. | R
110 | Norway-Great Britain, North Sea Link | 1 | Reductions of costs for ancillary services | yes |  |  | 6.86 | 6.86 | 6.86 | 6.86 | UK |  | UK NRA: Figures provided are from NGET cap and floor reports rather Poyry, however we agree that the data may be slightly out of date. We would also note that figures from this report are commercially sensitive. Conclusion: Given the commercial sensitivity and age of the data, Ofgem do not recommend inclusion of this submitted value. | R
110 | Norway-Great Britain, North Sea Link | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 24.711 | 24.711 | 24.711 | 24.711 | UK |  | UK NRA: The referenced report does discuss separate capacity and ancillary service benefits, although Ofgem agree with ENTSO-E that it does not specifically quantity them. These figures are dervied from a separate NGET report, which is commercially sesnitive. Conclusion: Given the commercial sensitivity and age of the data, Ofgem do not recommend inclusion of this submitted value. | R |  | R/NA
121 | Nautilus: 2nd interconnector Belgium - UK | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 22 | 22 | 22 | 22 | UK |  | BE NRA: This is a benefit is claimed only for the UK side. UK NRA: As above, whilst we agree that the Poyry study referenced is not focussed on this project, Ofgem do see a distinction between the stated missing benefits as described in that study. If and when Ofgem were to assess this project for a cap and floor regime, this analysis would be performed. Conclusion: The submitted figure is not evidenced in any existing Ofgem report, on that basis Ofgem do not recommend the inclusion of this value. | R
121 | Nautilus: 2nd interconnector Belgium - UK | 1 | Reductions of costs for ancillary services | yes |  |  | 10 | 10 | 10 | 10 | UK |  | BE NRA: BE side: The CREG can confirm that this project has some benefits based on its MVAR contribution, but does not have the data to quantify these benefits. UK NRA: Figures provided are from NGET cap and floor reports rather Poyry. We would note that as with Aquind these figures are commercially sensitive and are specific to cap and floor window 2 projects, of which this project is not included. Therefore, whilst we agree there is a theoretical benefit, we do not believe these figures as provided are appropriate. | R
127 | Central Southern Italy | 1 | Reductions of costs for ancillary services | yes |  |  | 92 | 95 | 45 |  | 100% |  | IT NRA: ARERA rejects for implementation reasons: different scenarios (V1 and V3) | R
127 | Central Southern Italy | 2 | Reduction of emissions (non-CO2) | no | [8 empty] | IT NRA: ARERA observes no data are provided | R
130 | HVDC SuedOstLink Wolmirstedt to area Isar | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 7 | 34 | 18 | 51 | 100% |  | DE NRA: NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
132 | HVDC Line A-North | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 9 | 32 | 8 | 33 | 100% share of benefit adresses the EU |  | DE NRA: NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
135 | N-S Western DE_parallel lines | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 1 | 6 | 0 | 0 | 100% share of benefit adresses the EU |  | DE NRA: NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
150 | Italy-Slovenia | 2 | Reduction of emissions (non-CO2) | no | [8 empty] | IT NRA: ARERA observes no data are provided SI NRA: We agree with ENTSO-E conclusion, missing information as project is not mature enough – study phase. | R
150 | Italy-Slovenia | 1 | Reductions of costs for ancillary services | yes |  |  | 16.5 | 11.3 | 7.5 |  | 100% |  | IT NRA: ARERA has no information regarding the project. No objection SI NRA: Not able to assess. Enclosed study is in Italian language, on Slovenian side project is in study phase. | A
164 | N-S Eastern DE_central section | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 47 | 56 | 111 | 81 | 100% |  | NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
167 | Viking DKW-GB | 1 | Reductions of costs for ancillary services | yes |  |  | 59.11 | 59.11 | 59.11 | 59.11 | 100% |  | UK NRA: The referenced report does provide a quantified figure for combined value of ancillary services and boundary capability. These figures originate from the NGET report, in which numbers will be broken down further. However this report is commercially sensitive. Ofgem agrees that these data may be slightly out of date. Additionally, Ofgem quote a value of £516m NPV of ‘system operation impacts’ in our IPA document. Conclusion: Given the above, Ofgem do not recommend inclusion of this submitted value. DK NRA: DUR agrees with Ofgem. | R
170 | Baltics synchro with CE | 3 | Synchronisation with Continental Europe (for Baltic States) | yes |  | 1233 at commissioning year |  |  |  |  | 100% |  | LV NRA: "nothing to add" LT NRA: Approved - Baltic States NRA's accepted the TSOs study and on 6 September 2018 issued CBCA decission on Baltic Synchronisation Project. - Phase 1. | A
174 | Greenconnector | 1 | Reductions of costs for ancillary services | yes if id 3367 is not included |  |  |  | 17 | 14 | 11 | 100% (only ancillary services in Italy have been considered) |  | IT NRA: ARERA deems more prudent to accept this benefit quantification (via traditional TOOT) than the alternative calculation for the same benefit proposed by the promoter (as its TOOT sequence is not fully aligned with the sequential TOOT used by ENTSO-E). ARERA observes that the benefit is not about ancillary services. It is an EXTRA-B1 SEW. | COR
174 | Greenconnector | 1 | Reductions of costs for ancillary services | yes if id 3362 is not included |  |  |  | 20 | 8 | 18 | 100% (only ancillary services in Italy have been considered) |  | IT NRA: ARERA rejects because this is an alternative calculation of the previous one | R
174 | Greenconnector | 5 | Avoidance of the renewal/replacement costs of infrastructure | yes |  | 27.12 at commissioning year | [6 empty] | IT NRA: ARERA mostly agrees, but this is deferred cost (for 25 years), not avoided cost. Therefore, ARERA amends the benefit to 18.08 Million Euro | COR
183 | DKW-DE, Westcoast | 6 | Reduction of necessary reserve for re-dispatch power plants | no | [6 empty] | 100 |  | DK NRA: DUR agrees to the ENTSO-E view, that the data is slightly out of date. However, the report has been part of the review and approval process of the project in UK and DUR does not oppose the inclusion of these benefits in the project assesment. DE NRA: the major part of project 183 lays on the Danish territory. Due to that the Danish regulator is more appropriate to expres views. | A
190 | NorthConnect | 5 | Avoidance of the renewal/replacement costs of infrastructure | no | Qualitative Information: NorthConnect makes a significant contribution to the avoided infrastructure investment costs and/or re-dispatch as means of alleviating congestion paid by the system operator National Grid through the flexibility offered by connecting to a hydropower based system. As it is difficult to distinguish avoided investments and re-dispatch, the total Missing Benefits are accounted for only under Avoidance of renewal/replacement costs of infrastructure. | [5 empty] | 100% |  | UK NRA: Ofgem: We note that the results are likely to be included in the stated report, however that these figures are currently commercially sensitive. Given the commercial sensitivity Ofgem do not recommend inclusion of any monetised value. As the missing benefit is theoretically plausible we see no problem with including such a qualitative statement if the assessment methodology allows. | A
190 | NorthConnect | 1 | Reductions of costs for ancillary services | no | Quantified Value: NorthConnect is eligible for the capacity market. Based on National Grids recent years official capacity auction results (Feb 2018), the Missing Benefits are estimated to 10 MEUR/yr. NorthConnect can support reactive power, while participating in the other markets. | [5 empty] | 100% |  | UK NRA: Ofgem: We note that the results are likely to be included in the stated report, however that these figures are currently commercially sensitive. Given that the report on which this benefit is based is currently unavailable to Ofgem and has been noted as commercially sensitivity by the project promoter, Ofgem do not recommend inclusion of any monetised value. As the missing benefit is theoretically plausible we see no problem with including such a qualitative statement if the assessment methodology allows. | A
200 | CZ Northwest-South corridor | 2 | Reduction of emissions (non-CO2) | yes |  |  | 4.49 | 14.73 | 8.74 | 8.74 | Czech Republic |  | CZ NRA: We agree that this missing benefits could be included in the TYNDP. Due to very specific content of the study, It is not included nor its benefits in the NDP 2019-2028 draft. However, calculation of missing benefits was shared informally with NRA and is also published in TYNDP 2018 project sheet list. Missing benefits are generated by adding extra connection capacity of 100 MW of RES, which is not covered by CBA. The draft of NDP contains an assumption of new RES connected to the substation Vitkov. | A
206 | Reinforcement Southern Germany | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 8 | 0 | 12 | 254 | 100% |  | DE NRA agrees in the inclusion in the TYNDP | A
207 | Reinforcement Northwestern DE | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 2 | 39 | 15 | 15 | 100% |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
208 | N-S Western DE_section North_1 | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 0 | 25 | 4 | 0 | 100% share of benefit adresses the EU |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
209 | Reinforcement Northeastern DE | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 2 | 0 | 0 | 1 | 100% |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
225 | 2nd interconnector Belgium - Germany | 1 | Reductions of costs for ancillary services | yes | Qualitative Information: need for MVAR expressed in Elia's NDP 2020-2030, publicly available as from autumn 2018. Quantification based on avoided alternative investments of 300MVAR Statcom = 36M€, this gives 3M€/yr benefit over 25 years @6%. |  | 3 | 3 | 3 | 3 | Belgium |  | BE NRA: BE side: The CREG can confirm that this project has some benefits based on its MVAR contribution, but does not have the data to quantify these benefits. | N/A
235 | HVDC SuedLink Brunsbüttel/Wilster to Großgartach/Grafenrheinfeld | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 16 | 29 | 21 | 45 | 100% |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
240 | 380-kV-grid enhancement between Area Güstrow and Wolmirstedt | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 1 | 27 | 4 | 12 | 100% |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
247 | AQUIND Interconnector | 1 | Reductions of costs for ancillary services | no | Qualitative Information: According to the study done by the UK System Operator 'National Grid' for the UK energy regulator Ofgem, AQUIND Interconnector can provide frequency response benefits and is able to support the reactive issues around Lovedean substation and could save capital expenditure. | [5 empty] | 100% |  | FR NRA: The benefit should be rejected unless access is given to the data ( the quantitative results were not provided because they are considered as commercially confidential) and CRE can assess it properly. UK NRA: Ofgem: Ofgem agree that there are additional benefits, which was assessed through the cap and floor framework. However, the results remain commercially sensitive and are therefore not public at this time. | R
254 | HVDC Ultranet Osterath to Philippsburg | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 7 | 0 | 35 | 0 | 100% share of benefit adresses the EU |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
258 | Westcoast line | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 1 | 20 | 0 | 29 | 100% |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
260 | New Great Britain - Netherlands interconnection | 1 | Reductions of costs for ancillary services | yes |  |  | 7 | 7 | 7 | 7 | UK |  | NL NRA: Ofgem would be appropriate authority to assess the missing benefits. UK NRA: Ofgem: We note that the Poyry study referenced is not focussed specifically on this project, however we consider the same principals set out in that report to apply to this project. This report does discuss separate capacity and ancillary service benefits, although it does not quantify them. Conclusion: The submitted figure is not evidenced in any existing report that Ofgem is aware of, on that basis Ofgem cannot recommend the inclusion of this value. | R
260 | New Great Britain - Netherlands interconnection | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 22 | 22 | 22 | 22 | UK |  | NL NRA: Ofgem would be appropriate authority to assess the missing benefits UK NRA: Figures provided are from NGET cap and floor reports rather Poyry. We would note that as with Aquind these figures are commercially sensitive and are specific to cap and floor window 2 projects. Whilst we agree there is theoretical benefit, we do not believe these figures as provided are appropriate. Conclsion: we do not believe the submitted figures are appropriate for inclusion. | R
270 | FR-ES project -Aragón-Atlantic Pyrenees | 2 | Reduction of emissions (non-CO2) | yes |  |  | 7.3 | 56.6 | 35.4 | 8 | 100% |  | In general, the FR and ES NRAs (CRE and CNMC respectively) agree that further methodology refinements are need to monetarize the missing benefits. They also agree that the methodology used for the non-CO2 emissions results is the same than for the CO2 emissions in ENTSOE’s CBA. However, on the calculated values: - CNMC proposes to consider the values suggested, as they have been calculated according to the ENTSOE guidelines and are the best estimation with the available data, correcting the missing negative values in the 2025 BE scenario, and using the average value of the range proposed by REE to monetarize the missing benefits. - CRE considers that, as it stands, the methodology is not robust enough, both in terms of the monetization of the damages costed by non-CO2 emissions and the exact effect the emissions stemming from the generating facilities have on population’s health (which is the background principle of the estimation). Moreover, the impact on GHG emissions due to the generation plants that have to generate electricity to compensate the losses induced by the interconnection is not taken into account (this could have a substantial impact and should be assessed). Therefore, without denying that the interconnection could have an effect on non CO2 emissions, the monetization remains too uncertain to be taken into account to assess the interconnection, and added to other benefits. | D
276 | FR-ES project -Navarra-Landes | 2 | Reduction of emissions (non-CO2) | yes |  |  | 0 | 67.3 | 47.6 | 7.2 | 100% |  | In general, the FR and ES NRAs (CRE and CNMC respectively) agree that further methodology refinements are need to monetarize the missing benefits. They also agree that the methodology used for the non-CO2 emissions results is the same than for the CO2 emissions in ENTSOE’s CBA. However, on the calculated values: - CNMC proposes to consider the values suggested, as they have been calculated according to the ENTSOE guidelines and are the best estimation with the available data, correcting the missing negative values in the 2025 BE scenario, and using the average value of the range proposed by REE to monetarize the missing benefits. - CRE considers that, as it stands, the methodology is not robust enough, both in terms of the monetization of the damages costed by non-CO2 emissions and the exact effect the emissions stemming from the generating facilities have on population’s health (which is the background principle of the estimation). Moreover, the impact on GHG emissions due to the generation plants that have to generate electricity to compensate the losses induced by the interconnection is not taken into account (this could have a substantial impact and should be assessed). Therefore, without denying that the interconnection could have an effect on non CO2 emissions, the monetization remains too uncertain to be taken into account to assess the interconnection, and added to other benefits. | D
283 | TuNur | 1 | Reductions of costs for ancillary services | no | Qualitative Information: a 2GW interconnection between Continental Italy and Tunisia, at the future >2GW CSP with thermal storage power plant will enable a mutual availability of circa 400 MW balancing capacity through spinning reserve sustained by 10h thermal reserve Quantified Value: circa 400 MW balancing through spinning reserve | [5 empty] | 50% being a Tunisia/Italy interconnection between 2 very solid network points |  | IT NRA: ARERA rejects: no monetisation, no study provided | R
283 | TuNur | 6 | Reduction of necessary reserve for re-dispatch power plants | no | Qualitative Information: a 2GW interconnection between Continental Italy and Tunisia, at the future >2GW CSP with thermal storage power plant will enable a mutual availability of up to 2 GW emergency power reserve Quantified Value: up to 2 GW emergency power reserve | [5 empty] | 50% being a Tunisia/Italy interconnection between 2 very solid network points |  | IT NRA: ARERA rejects: no monetisation, no study provided | R
283 | TuNur | 2 | Reduction of emissions (non-CO2) | no | Quantified Value: 10 Mt of CO2 | [5 empty] | likely 100% |  | IT NRA: ARERA rejects: no monetisation (except early inputs), no study provided | R
285 | GridLink | 2 | Reduction of emissions (non-CO2) | no | [6 empty] | 100% |  | FR NRA: Rejected for missing information (no study provided) UK NRA: Ofgem agrees to reject due to missing information. | R
286 | Greenlink | 1 | Reductions of costs for ancillary services | no | Qualitative Information: Greenlink will provide capabilities for reactive power, frequency response, reserve and black start in GB and Ireland. Greenlink has the capability to offer 13 of the 14 DS3 services in Ireland, depending on operational mode and values. Greenlink does not offer SIR (Synchronous Inertial Response). | [7 empty] | IE NRA: Benefit not substantiated by sufficient evidence therefore we recommend not to consider it further. | R
286 | Greenlink | 6 | Reduction of necessary reserve for re-dispatch power plants | no | Qualitative Information: EirGrid the Irish system operator manages the Irish system to a SNSP (System Non- Synchronous Penetration) limit which is expected to achieve 75%. By increasing the export capacity Greenlink will enable 375MW more non – synchronous renewable energy to operate on the system at times of high wind penetration without breaching the 75% limit thereby reducing the re-despatch costs of curtailing wind and bringing on thermal generation instead. | [7 empty] | IE NRA: Benefit not substantiated by sufficient evidence therefore we recommend not to consider it further. UK NRA: Ofgem: Only qualitative information was provided with no study, therefore we recommend not to consider it further for consistency with the treatment of similar submitted benefits. | R
286 | Greenlink | 2 | Reduction of emissions (non-CO2) | no | Qualitative Information: Ireland and the UK have committed to ending coal powered generation by 2025. Greenlink will provide additional security of supply to help meet that pledge which will reduce emissions SOX NOX. | [7 empty] | IE NRA: Benefit not substantiated by sufficient evidence therefore we recommend not to consider it further. UK NRA: Ofgem: Only qualitative information was provided with no study, therefore we recommend not to consider it further for consistency with the treatment of similar submitted benefits. | R
293 | Southern Aegean Interconnector | 2 | Reduction of emissions (non-CO2) | yes |  |  | 3.3 | 3.3 | 3.3 | 3.3 | The reduction will positively affect (human health and hospitalization cost) several neighboring and interconnected with Greece EU countries as Cyprus, Bulgaria and Italy as well as others non EU Member States (Albania,FYROM,Turkey) |  | GR NRA: The Project Promoter indicated as a missing benefit the reduction of emissions (non-CO2) at a monetized value of 3.3 m. Euro/year on average. According the Project Promoter, this calculation was based on a study titled: “CLIMATE CHANGE – 5TH ASSESSMENT REPORT (AR5)/SYNTHESIS REPORT” conducted by the INTERGOVERNMENTAL PANEL FOR CLIMATE CHANGE (IPCC). However, this study is conducted in 2015 for a study horizon between 2009 and 2014 and also it is not focused on project 293. Hence, RAE is not able to assess this study. | N/A
294 | Maali | 6 | Reduction of necessary reserve for re-dispatch power plants | no | Qualitative Information: In 2017/18 National Grid as GB system operator expended £374.3million on constraint payments over the Cheviot Boundary, between England and Scotland. Maali, would provide a route to export power north and east to Norway relieving these constraints. | [7 empty] | UK NRA: Ofgem cannot assess | N/A
294 | Maali | 2 | Reduction of emissions (non-CO2) | no | Qualitative Information: The Shetland power station was built in 1953 and is nearing the end of its operational life. The power station was unlikely to have met the emissions targets proposed by the EU Industrial Emissions Directive (IED), which were expected to come into force from 2020, without substantial modification. As a result, it was expected to close in 2020. A document which sits under the IED was published in late July and states that new, tougher emissions targets will only apply to engines on ‘small isolated systems’ and ‘micro isolated systems’ from 2030 (as opposed to 2020). The Scottish Environment Protection Agency (SEPA) has confirmed that this later deadline applies to existing engines at Lerwick Power Station. The power station continues to emit SOX and NOX at levels that would not be acceptable on mainland Europe. Maali will provide a connection to Shetland which, in conjunction with the HVDC link to Scotland, will enable the power station to be closed. | [7 empty] | UK NRA: Ofgem cannot assess | N/A
296 | Britib | 2 | Reduction of emissions (non-CO2) | yes |  |  | 5.3 | 19.9 | 23.4 | 4.6 | All |  | FR NRA: Rejected for missing information (no study provided) | R
299 | SACOI3 | 2 | Reduction of emissions (non-CO2) | yes |  |  | 16.2 | 25.5 | 28.4 | 1.7 | 100% |  | FR NRA: The perimeter of the computation is unclear. It seems that it is bigger than Italy (the results are higher than the ones provided for italy to the ARERA), but the emission costs retained are only the one of Italy and not of other country(ies) IT NRA: ARERA has no EU-wide information on this benefit. No objection | A
299 | SACOI3 | 1 | Reductions of costs for ancillary services | yes |  |  | 68 | 59 | 31.3 | 87.5 | 100% |  | FR NRA: The benefit concerns only Italy, we don't have any comment on it. IT NRA: ARERA confirms the figures for ST2030 and DG2030 | A
320 | Slovenia-Hungary/Croatia interconnection | 1 | Reductions of costs for ancillary services | yes |  |  | 4.6 | 4.6 | 4.6 | 4.6 | 100% |  | SI NRA:Benefit category »reduction of costs for ancillary services« is well justified in the CBA analysis, carried out by independent institution. Moreover a consevative value has been taken into account, therefore Energy Agency is certainly agreed that monetised value should be considered. HR NRA: HERA has no additional comments, since it is basically project in Slovenia. Slovenian NRA has also analysed all the documentation and passed a decision on a CBCA. | A
320 | Slovenia-Hungary/Croatia interconnection | 5 | Avoidance of the renewal/replacement costs of infrastructure | yes |  | 5.5 MEur - 1 time benefit in year 2021 and 35.9 MEur - 1 time benefit in year 2035 |  |  |  |  | 100% |  | SI NRA:Without project 320 certain investment will have to be carried out anyway as existing infrastructure is aging. Also this category is well justified in the CBA analysis and monetised value should be considered HR NRA: HERA has no additional comments, since it is basically project in Slovenia. Slovenian NRA has also analysed all the documentation and passed a decision on a CBCA. | A
322 | Wullenstetten - Border Area (DE-AT) | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 4 | 0 | 0 | 4 | 100% share of benefit adresses the EU |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. AT NRA: E-Control cannot comment on the missing benefits for the projects 26, 322 and 375 as they were not delivered by the Austrian TSO and are not based on a methodology discussed and/or approved with/by E-Control | A
337 | Conneforde-Merzen | 6 | Reduction of necessary reserve for re-dispatch power plants | yes |  |  | 0 | 0 | 12 | 30 | 100% share of benefit adresses the EU |  | DE NRA agrees in the inclusion in the TYNDP The quantification of reduced redispatch costs among different scenarios requires detailed modeling, including a thorough probability assessment. Given resource and legal constraints, it is beyond our means to verify in time the details of the methodology used and outcomes for each specific project. However, the general principles of the methodology used follows commonly applied approaches. We further would like to ensure clarity as to the remark "Approved by the national Authority". The source document used in the context of the missing benefit assessment represents an official document published by BNetzA. While its content is checked on accuracy of data provided by the TSO, this document does not support or is basis for any regulatory decisions in the national context of investment facilitation. Therefore, the declaration "Approved by the national Authority" could lead to misunderstandings. | A
338 | Adriatic HVDC link | 2 | Reduction of emissions (non-CO2) | yes |  |  | 2.1 | 9 |  |  | 70% in 2025 BE and 95% in 2030 ST |  | IT NRA: ARERA has no EU-wide information on this benefit. No objection | A
338 | Adriatic HVDC link | 1 | Reductions of costs for ancillary services | yes |  |  | 74 | 86 | 86 | 33 | 100% |  | IT NRA: ARERA confirms the figures for ST2030 and DG2030 | A
339 | Italian HVDC tri-terminal link | 2 | Reduction of emissions (non-CO2) | yes |  |  |  | 1.7 | 1.4 |  | 51% in 2030 DG and 63% in 2030 ST |  | IT NRA: ARERA has no EU-wide information on this benefit. No objection | A
339 | Italian HVDC tri-terminal link | 1 | Reductions of costs for ancillary services | yes |  |  | 145.1 | 119 | 194.9 | 181.7 | 100% |  | IT NRA: ARERA confirms the figures for ST2030 and DG2030 | A
375 | Lienz (AT) - Veneto region (IT) 220 kV | 2 | Reduction of emissions (non-CO2) | no | [8 empty] | AT NRA:E-Control cannot comment on the missing benefits for the projects 26, 322 and 375 as they were not delivered by the Austrian TSO and are not based on a methodology discussed and/or approved with/by E-Control IT NRA: ARERA observes no data are provided | R
375 | Lienz (AT) - Veneto region (IT) 220 kV | 1 | Reductions of costs for ancillary services | no | [8 empty] | AT NRA: E-Control cannot comment on the missing benefits for the projects 26, 322 and 375 as they were not delivered by the Austrian TSO and are not based on a methodology discussed and/or approved with/by E-Control IT NRA: ARERA observes no data are provided | R

## Transmission Declared Value
Project No | Project name | Alternative indicator ID | Alternative indicator | Quantified Value (MWh) | Monetized value? | Value of benefit at Scenario 1 (M€/year) | Value of benefit at Scenario 2 (M€/year)2 | Value of benefit at Scenario 3 (M€/year)3 | Value of benefit at Scenario 4 (M€/year)4 | Share of the benefit pertaining to EU countries | ENTSO-E assessment: [redacted because ENTSO-E do not wish their assessment to be published] | NRA assessment | NRA assessment code | Column1 | Legent for NRA assessment / colour code
1 | RES in north of Portugal | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | No assessment was provided |  |  | A: Approve
1 | RES in north of Portugal | 4 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  | no | [6 empty] | No assessment was provided |  |  | R: Reject
4 | Interconnection Portugal-Spain | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | yes? removing SOS pilot | 6.9 (*) | 6.9 (*) | 6.9 (*) | 6.9 (*) | 100% |  | ES NRA: ENTSO-E experimental SoS Indicator results have been calculated for the B6 indicator according to the Energy not served saved, but the Portuguese TSO (REN) has additionally calculated benefits for this indicator based on the Additional adequacy margin (contribution of the transmission project to reduce the required installed generation capacity). In the additional report prepared by REN, it is said that impact of this project on generation capacity is 200 MW of capacity spared in peak units and considering that this capacity could replace the installation of simple cycle gas turbines, the savings would be about 6,9 M€/y (same value for every scenario). There is no a confirmation given by REN about if these calculations would be preferable to the ENTSO-E experimental SoS Indicator results and if this would be the case, there are not further studies provided by REN to support the 200 MW spared capacity and the savings of 6,9 M€/y. Therefore, we would need more information to be able to assess these results. | N/A |  | R: One NRA rejects and the other "no data" or "not able to assess"
4 | Interconnection Portugal-Spain | 4 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  | no because considered as ancillary service | [6 empty] | ES NRA: The Spanish project promoter (REE) has informed us that the benefits declared for this project regarding Missing Benefit indicator "A.1. Reduction of costs for ancillary services" belong to Declared Values indicator "D.3 Monetarisation of B7 indicator: Security of Supply", therefore there is a mistake in the declaration of the values in this Excel file. Said the above, REE has provided us a document prepared by the Portuguese project promoter (REN) where the process to assess the monetarisation of "B7 indicator Security of Supply" is described. It seems that this process is according to the guidelines for the declaration of "Missing Benefits" and "declared values" of CBA indicators in the TYNDP 2018 and ENTSOE scenarios are also used. Nevertheless, there is not enough quantitative information in the report to be able to assess these benefits. | N/A |  | D: Disagreement
16 | Biscay Gulf | 4 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  | no | [6 empty] | ES NRA: No information received from the project promoter to assess declared values for this project FR NRA: Rejected for missing information (no data nor study provided) | R |  | N/A: Cannot assess
21 | Italy-France | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | FR NRA: Rejected for missing information (no data nor study provided) IT NRA: no inputs, no data. | R |  | COR: Approved, but benefit was corrected
25 | IFA2 | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | FR NRA: Rejected for missing information (no data nor study provided) UK NRA: Ofgem: There is no justification for this declared value. | R
26 | Reschenpass Interconnector Project | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | AT NRA: E-Control cannot comment on the missing benefits for the projects 26, 322 and 375 as they were not delivered by the Austrian TSO and are not based on a methodology discussed and/or approved with/by E-Control IT NRA: no inputs, no data. | R
28 | Italy-Montenegro | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: ARERA rejects due to inappropriate clustering of TYNDP project 28 | R
29 | Italy-Tunisia | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: ARERA supports the promoter's request to use the Italian VOLL (from 20 to 40 Eur/kWh). Data of experimental SoS indicator are missing in this xls file. | A
31 | Italy-Switzerland | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: ARERA supports the promoter's request to use the Italian VOLL (from 20 to 40 Eur/kWh). Data of experimental SoS indicator are missing in this xls file. | A
33 | Central Northern Italy | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: ARERA supports the promoter's request to use the Italian VOLL (from 20 to 40 Eur/kWh). Data of experimental SoS indicator are missing in this xls file. | A
35 | CZ Southwest-east corridor | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows | The system adequacy analysis of the Czech grid was used to demonstrate and quantify this alternative indicator. For all ENTSO-E 2030 and 2040 scenarios a comparison was made of network flows on the current gris "No action grid" (as of 30 June 2018) compared with status encomparating all planned projects by 2028. Analyses were performed for both the base case N and for the N-1.Two criteria were followed: 1) The line loading frequency above 80% is monitored at least 8% of the entire year, that is about 1 month. The criterion is only tracked for N-1 situatio analysis. 2) Maximum use of transmission capacity for the entire year - monitored for the line loading over 80% and 100% transmission line capacity. The criterion is followed for both N and N-1 analysis | no |  |  |  |  | Czech Republic |  | CZ NRA: The TSO only provided qualitative information stemming from the issue of loop flows from Germany, TSO didnt share with us any specific methodology. | R
81 | North South Interconnector | 2 | B6 indicator: Security of Supply - Adequacy to meet demand | BE2025 : 590 MWh/Year ST2030 : 967 MWh/Year DG2030 : 1019 MWh/Year EUCO30 : 611 MWh/Year | no |  |  |  |  | 100% |  | IE NRA: Values duplicate the results of the SOS test. The promoter has confirmed the publication of those value in a separate section, so this declared value can be ignored. | R
127 | Central Southern Italy | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: no inputs, no data | R
130 | HVDC SuedOstLink Wolmirstedt to area Isar | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows |  | no | [6 empty] | DE NRA: We agree that ENTSO-E includes these benefits in a qualitative manner. | A
132 | HVDC Line A-North | 10 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows |  | no | [6 empty] | DE NRA: We agree that ENTSO-E includes these benefits in a qualitative manner. | A
150 | Italy-Slovenia | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA and SI NRA: The 2 NRAs (ARERA and AGEN) accept the quantification of the EENS (as stated in the project sheet of the project), but request ENTSO-E to correct the monetary value of this benefit, by splitting it per country, and using the VOLL values that apply to each one of them (i.e. 20-40 Eur/kWh for Italy, 4.28 Eur/kWh for Slovenia, and national values as specified by the relevant NRA or the ENTSO-E generic VOLL value for any other country). | COR
167 | Viking DKW-GB | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no |  |  |  |  | 100 |  | UK NRA: The justification for this declared value comes from an ENTSO study. The promoter has confirmed the publication of those value in a separate section, so this declared value can be ignored. | R
174 | Greenconnector | 2 | B6 indicator: Security of Supply - Adequacy to meet demand | [8 empty] | IT NRA: ARERA supports the promoter's request (expressed n the project sheet) to use the Italian VOLL (from 20 to 40 Eur/kWh). Data of experimental SoS indicator are missing in this xls file | A
200 | CZ Northwest-South corridor | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows | The system adequacy analysis of the Czech grid was used to demonstrate and quantify this alternative indicator. For all ENTSO-E 2030 and 2040 scenarios a comparison was made of network flows on the current gris "No action grid" (as of 30 June 2018) compared with status encomparating all planned projects by 2028. Analyses were performed for both the base case N and for the N-1.Two criteria were followed: 1) The line loading frequency above 80% is monitored at least 8% of the entire year, that is about 1 month. The criterion is only tracked for N-1 situatio analysis. 2) Maximum use of transmission capacity for the entire year - monitored for the line loading over 80% and 100% transmission line capacity. The criterion is followed for both N and N-1 analysis | no |  |  |  |  | Czech Republic |  | CZ NRA: The TSO only provided qualitative information stemming from the issue of loop flows from Germany, TSO didnt share with us any specific methodology. | R
235 | HVDC SuedLink Brunsbüttel/Wilster to Großgartach/Grafenrheinfeld | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows |  | no | [6 empty] | DE NRA: We agree that ENTSO-E includes these benefits in a qualitative manner | A
240 | 380-kV-grid enhancement between Area Güstrow and Wolmirstedt | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows |  | no | [6 empty] | DE NRA: Project 240 is the northern part of an HVDC corridor that is continued in south direction by project 254. For project 254 the information is available. Therefore, this needs to be discussed by ENTSO-E with the TSO who provided the benefit | N/A
250 | Merchant line Castasegna (CH) - Mese (IT) | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows |  | no |  |  |  |  | 100% |  | IT NRA: no inputs, no data | R
254 | HVDC Ultranet Osterath to Philippsburg | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows |  | no | [6 empty] | DE NRA: We agree that ENTSO-E includes these benefits in a qualitative manner | A
270 | FR-ES project -Aragón-Atlantic Pyrenees | 4 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  | yes | 5 | 1.9 | 3 | 3.7 | 100% |  | ES NRA: CNMC approves the values suggested, and recommends that an average value of the range proposed by REE to monetise the declared values is used FR NRA: CRE rejects the results, because they are too uncertain to be taken into account | D
276 | FR-ES project -Navarra-Landes | 4 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  | yes | 5.2 | 2 | 2.7 | 4.7 | 100% |  | ES NRA: CNMC approves the values suggested, and recommends that an average value of the range proposed by REE to monetise the declared values is used FR NRA: CRE rejects the results, because they are too uncertain to be taken into account | D
285 | GridLink | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no |  |  |  |  | 100% |  | FR NRA: Rejected for missing information (no study provided) UK NRA: There is no justification for this declared value. | R
285 | GridLink | 4 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  | no |  |  |  |  | 100% France |  | FR NRA: Rejected for missing information (no study provided) UK NRA: There is no justification for this declared value. | R
285 | GridLink | 7 | Contribution to the removal of infrastructure bottlenecks which are caused by loop flows or transit flows |  | no |  |  |  |  | 100% |  | FR NRA: Rejected for B6 SoS - This value appears to be monetarised value as a result of CO2 reduction and there is already a submission for B6 AND CO2 from same promoter on same project (the promoter refers to value already computed by entso-e). Moreover, no study is provided to explain/justifty the benefit. UK NRA: The promoter has confirmed the publication of those value in a separate section, so this declared value can be ignored.. | R
296 | Britib | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | yes | 104.7 (*) | 104.7 (*) | 104.7 (*) | 104.7 (*) | All |  | FR NRA: Rejected for te following reasons: 1/ The scenarios are not in line with the TYNDP 2018. 2/The study provided only gives information for France and Spain regarding the avoided back-up capacity (description of the missing benefit says it includes benefit for the UK also), and no information is given on the update made with the 2015 scenario (the 104.7M€ number is not explained). 3/ The justification provided in the study are not precise enough, and the methodology is flawed (e.g. the interconnection is assumed to replace a CCGT as back-up to intermittent technology, but no modelisation of the availability of the interconnection nor of the possibility to import/export energy when needed are made) UK NRA Although Britib connects to the UK, justification for this declared benefit comes from a Poyry assessment of interconnection between France and Spain in 2013. As such Ofgem are not best placed to comment. | R
299 | SACOI3 | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | FR NRA: the submitted alternative calculations pertain to Italy, therefore CRE don’t have an opinion IT NRA: Despite the differences between TYNDP scenarios and experimental SoS scenarios, ARERA does not object to the ENTSO-E values and supports the promoter's request to use the Italian VOLL (from 20 to 40 Eur/kWh). Data of experimental SoS indicator are missing in this xls file. | A
320 | Slovenia-Hungary/Croatia interconnection | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no |  |  |  |  | 100% |  | HR NRA: HERA has no additional comments, since it is basically project in Slovenia. Slovenian NRA has also analysed all the documentation and passed a decision on a CBCA. SI NRA: Values duplicate the results of the ENTSO-E experimental SoS calculation. The promoter has confirmed the publication of those value in a separate section, so this declared value can be ignored. | R
325 | AT, SI, IT - South-East Alps Project | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: ARERA: no inputs, no data | R
338 | Adriatic HVDC link | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: ARERA: no inputs, no data | R
339 | Italian HVDC tri-terminal link | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | IT NRA: ARERA: no inputs, no data | R
375 | Lienz (AT) - Veneto region (IT) 220 kV | 2 | B6 indicator: Security of Supply - Adequacy to meet demand |  | no | [6 empty] | AT NRA: E-Control cannot comment on the missing benefits for the projects 26, 322 and 375 as they were not delivered by the Austrian TSO and are not based on a methodology discussed and/or approved with/by E-Control. IT NRA: no inputs, no data | R
(*) It is noted that these values were calculated by ENTSO-E using a universal value for VoLL of 10 €/kWh

## Storage Missing benefits
Storage Project No | Project name | Benefit ID | Benefit indicated | Monetised Value (M€/year) | Quantified Value (MWh) | Qualitative Information | Value of benefit at Scenario 1 (M€/year) | Value of benefit at Scenario 2 (M€/year)2 | Value of benefit at Scenario 3 (M€/year)3 | Value of benefit at Scenario 4 (M€/year)4 | ENTSO-E assessment: [redacted because ENTSO-E do not wish their assessment to be published] | NRAs assessment | NRA assessment code | Legent for NRA assessment / colour code
1000 | Hydro Pump Storage Power Plant Pfaffenboden in Molln | 1 | Reductions of costs for ancillary services | 0,27 - 17,46 | [9 empty] | A: Approve
1001 | Kaunertal Extension Project | 1 | Reductions of costs for ancillary services |  |  |  |  | 18.4 | 20.17 | 19.46 |  |  |  | R: Reject
1001 | Kaunertal Extension Project | 2 | Reduction of emissions (non-CO2) | Study will be provided until September 2018. |  |  |  | 434.8 | 278.34 | 431.45 |  |  |  | R: One NRA rejects and the other "no data" or "not able to assess"
1001 | Kaunertal Extension Project | 3 | Reduction of necessary reserve for re-dispatch power plants |  | -339 MW 2030-ST | [8 empty] | D: Disagreement
1006 | HPS AMFILOCHIA | 1 | Reductions of costs for ancillary services | - | - |  | 0.7 | 0.7 | 1.6 | 1.6 |  | GR NRA: RAE is not able to assess the credibility of the monetised values of missing benefits, provided by the Project Promoter based on the ECCO S.A. study. However, it has to be noticed that the project is positively assessed by RAE in the context of the restructuring of the market and the massive deployment of RES units towards 2030. Particularly, there is a work in progress in Greece in order to evaluate the necessity for storage in the country (in the context of the binding implementation of RES targets) and if so to establish the necessary regulatory framework according to State Aid guidelines. In this context, the draft National Energy and Climate Plan (NECP), which has been submitted for approval in the EC, foresees that 700MW of storage projects are expected to be commissioned until the year 2030." | N/A | N/A: Cannot assess
1006 | HPS AMFILOCHIA | 2 | Reduction of emissions (non-CO2) | - |  |  | 3.22 | 0.62 | 0.39 | 0.73 |  | GR NRA: RAE is not able to assess the credibility of the monetised values of missing benefits, provided by the Project Promoter based on the ECCO S.A. study. However, it has to be noticed that the project is positively assessed by RAE in the context of the restructuring of the market and the massive deployment of RES units towards 2030. Particularly, there is a work in progress in Greece in order to evaluate the necessity for storage in the country (in the context of the binding implementation of RES targets) and if so to establish the necessary regulatory framework according to State Aid guidelines. In this context, the draft National Energy and Climate Plan (NECP), which has been submitted for approval in the EC, foresees that 700MW of storage projects are expected to be commissioned until the year 2030." | N/A | COR: Approved, but benefit was corrected
1006 | HPS AMFILOCHIA | 3 | Reduction of necessary reserve for re-dispatch power plants | [8 empty] | GR NRA: RAE is not able to assess the credibility of the monetised values of missing benefits, provided by the Project Promoter based on the ECCO S.A. study. However, it has to be noticed that the project is positively assessed by RAE in the context of the restructuring of the market and the massive deployment of RES units towards 2030. Particularly, there is a work in progress in Greece in order to evaluate the necessity for storage in the country (in the context of the binding implementation of RES targets) and if so to establish the necessary regulatory framework according to State Aid guidelines. In this context, the draft National Energy and Climate Plan (NECP), which has been submitted for approval in the EC, foresees that 700MW of storage projects are expected to be commissioned until the year 2030." | N/A
1006 | HPS AMFILOCHIA | 7 | Avoidance of the renewal/replacement costs of infrastructure | [8 empty] | GR NRA: RAE is not able to assess the credibility of the monetised values of missing benefits, provided by the Project Promoter based on the ECCO S.A. study. However, it has to be noticed that the project is positively assessed by RAE in the context of the restructuring of the market and the massive deployment of RES units towards 2030. Particularly, there is a work in progress in Greece in order to evaluate the necessity for storage in the country (in the context of the binding implementation of RES targets) and if so to establish the necessary regulatory framework according to State Aid guidelines. In this context, the draft National Energy and Climate Plan (NECP), which has been submitted for approval in the EC, foresees that 700MW of storage projects are expected to be commissioned until the year 2030." | N/A
1011 | "REVERSIBLE PUMPED-STORAGE HYDROELECTRIC EXPLOITATION ""MONT- NEGRE"" POWER 3,300 MW ZARAGOZA, SPAIN" | 2 | Reduction of emissions (non-CO2) |  |  | . | 7.32 | 7.32 | 7.32 | 7.32
1011 | "REVERSIBLE PUMPED-STORAGE HYDROELECTRIC EXPLOITATION ""MONT- NEGRE"" POWER 3,300 MW ZARAGOZA, SPAIN" | 3 | Reduction of necessary reserve for re-dispatch power plants | The plant operations will not cause any modification on the level of the reservoir and its banks. This plant will play a key role in the achievement of Europe’s target 20/20/20. |  | Mont-Negre is able to move 70% of 22.5%, in Spain with the intervention of Mont-Negre would solve more than the 85% of phase II congestion instead of the current 72%.
1012 | Purifying -Pumped Hydroelectric Energy Storage (P-PHES Navaleo) | 1 | Reductions of costs for ancillary services | 0,813 |  | The P-PHES Navaleo will prevent the Ministry of the Environment of Spain from the investment and exploitation costs of the purification facility necessary to purify the toxic metals that are the cause of the good ecological condition of the waters of the Cúa River established in Directive 2000 / 60 / CE Water Framework. It must be taken into account that acid mine drainages (AMD) are characterized by their persistence over time (> 50 years). This additional benefit, which must be recognized to the project, avoids in the same amount, a cost that citizens must pay through their contributions to comply with the Water Framework Directive
1012 | Purifying -Pumped Hydroelectric Energy Storage (P-PHES Navaleo) | 2 | Reduction of emissions (non-CO2) |  |  | P-PHES NAVALEO makes it possible to store a large amount of energy produced using nergy sources of renewable origin. This will prevent the production of energy through contaminated sources when there is a greater demand for energy.
1015 | Cruachan II | 1 | Reductions of costs for ancillary services
1015 | Cruachan II | 2 | Reduction of emissions (non-CO2)
1019 | TWO REVERSIBLE HIDROELECTRIC PLANTS: GIRONES & RAIMATS IN SPAIN | 1 | Reductions of costs for ancillary services | 42
1019 | TWO REVERSIBLE HIDROELECTRIC PLANTS: GIRONES & RAIMATS IN SPAIN | 2 | Reduction of emissions (non-CO2) | 1,8
1019 | TWO REVERSIBLE HIDROELECTRIC PLANTS: GIRONES & RAIMATS IN SPAIN | 3 | Reduction of necessary reserve for re-dispatch power plants | 26.8
1022 | CARES (Compressed Air Renewable Energy Storage) | 1 | Reductions of costs for ancillary services |  |  | This project seeks to deliver up to 20% of the current market value (it can deliver more, but significant capacity will be used to deliver other services), though how much of this is actually delivered depends on the contracts that will be won; what is certain is that the entry of this volume into the market will drive down prices in a constant volume market.
1022 | CARES (Compressed Air Renewable Energy Storage) | 2 | Reduction of emissions (non-CO2) |  | 972800 | The above is per annum. Output electricity capacity is 972,800 MWh p.a. (5hours/day x 360days/year x 540MW) (the project could deliver up to 9 hours/day but it is not considered likely). All of this energy will displace fossil fuels in providing balancing and ancillary services to the grid, and therefore reduces emissions correspondingly.
1022 | CARES (Compressed Air Renewable Energy Storage) | 3 | Reduction of necessary reserve for re-dispatch power plants |  | 972800 | The above is per annum. Output electricity capacity is 972,800 MWh p.a. (5hours/day x 360days/year x 540MW) (the project could deliver up to 9 hours/day but it is not considered likely). All of this energy will displace fossil fuels in providing balancing and ancillary services to the grid, and therefore eliminates this requirement for reserve or re-dispatch power plants. The attached analysis shows that the total cost to the system of having insufficient large scale long duration storage in the UK is currently approximately £2bn p.a. and expected to double within 5 years. The proportion of that which can be displaced by a single 540MW project is not calculated – and not easily calculable.
1023 | Cheshire Gas CAES | 1 | Reductions of costs for ancillary services |  |  | This project seeks to deliver up to 10% of the current market value (it can deliver more, but significant capacity will be used to deliver other services), though how much of this is actually delivered depends on the contracts that will be won; what is certain is that the entry of this volume into the market will drive down prices in a constant volume market.
1023 | Cheshire Gas CAES | 2 | Reduction of emissions (non-CO2) |  | 216000 | The above is per annum. Output electricity capacity is 540,000 MWh p.a. (5hours/day x 360days/year x 300MW) (the project could deliver up to 9 hours/day but it is not considered likely). However this plant has ext. 60% of the emissions of a gas-fired power station that it would replace, so the saving is the 40% of the emissions from 540,000MWh = 216,000 MWh equivalent emissions saved. All of this energy will displace fossil fuels in providing balancing and ancillary services to the grid, and therefore reduces emissions correspondingly.
1023 | Cheshire Gas CAES | 3 | Reduction of necessary reserve for re-dispatch power plants |  | 216000 | The above is per annum. Output electricity capacity is 540,000 MWh p.a. (5hours/day x 360days/year x 300MW) (the project could deliver up to 9 hours/day but it is not considered likely). However this plant has ext. 60% of the emissions of a gas-fired power station that it would replace, so the saving is the 40% of the emissions from 540,000MWh = 216,000 MWh equivalent emissions saved. All of this energy will displace fossil fuels in providing balancing and ancillary services to the grid, and therefore eliminates this requirement for reserve or re-dispatch power plants. The attached analysis shows that the total cost to the system of having insufficient large scale long duration storage in the UK is currently approximately £2bn p.a. and expected to double within 5 years. The proportion of that which can be displaced by a single 300MW project is not calculated – and not easily calculable.
1025 | Silvermines Hydroelectric Power Station | 1 | Reductions of costs for ancillary services | 48.6 | Monitized value based on a 360MW installed capacity | Monetized value provided
1025 | Silvermines Hydroelectric Power Station | 2 | Reduction of emissions (non-CO2) | 0.2 | Monetized value provided | Monetized value provided
1026 | Hydro pumped storage Riedl | 1 | Reductions of costs for ancillary services |  |  |  | 2.51 | 3.17 | 1.89
1026 | Hydro pumped storage Riedl | 2 | Reduction of emissions (non-CO2) |  |  |  | 112.19 | 37.84 | 58.89
1026 | Hydro pumped storage Riedl | 3 | Reduction of necessary reserve for re-dispatch power plants |  |  |  | 1.79 | 6.24 | 0.77
1027 | P-PHES CUA | 1 | Reductions of costs for ancillary services | 0,378 |  | The P‐PHES Cúa will prevent the Ministry of the Environment of Spain from the investment and exploitation costs of the purification facility necessary to purify the toxic metals that are the cause of the good ecological condition of the waters of the Cúa River established in Directive 2000 / 60 / CE Water Framework. It must be taken into account that acid mine drainages (AMD) are characterized by their persistence over time (> 50 years). This additional benefit, which must be recognized to the project, avoids in the same amount, a cost that citizens must pay through their contributions to comply with the Water Framework Directive.
1027 | P-PHES CUA | 2 | Reduction of emissions (non-CO2) |  |  | P-PHES CUA makes it possible to store a large amount of energy produced using nergy sources of renewable origin. This will prevent the production of energy through contaminated sources when there is a greater demand for energy.
1029 | PSPP Kozjak | 1 | Reductions of costs for ancillary services |  |  | A large share of ancillary services in Slovenian electric power system is provided by thermal (fossil fuel) power plants. PSPP Kozjak will be able to offer a wide range of quality ancillary services. Study [ELEK, 2015], regarding the costs of ancillary services in the Slovenian EPS, showed that the costs of aFRR produced by the pumped storage technology is more competitive compared to the thermal units (coal-fired units), which could lead to lower prices contracted on the market. Together with the development of the cross-border balancing markets PSPP Kozjak products could be offered on a regional level, which will affect the prices in the region (in bidding zones with the less competitive generation mix). | [5 empty] | SI NRA view: benefit to be accepted | A
1029 | PSPP Kozjak | 3 | Reduction of necessary reserve for re-dispatch power plants |  |  | PSPP Kozjak, with the ability to adapt generation or load in a very wide range (up to ~800 MW), could efficiently collaborate in the transmission system congestion management. Transmission network development plans are predicting more and more congestions caused by the growing share of RES generation. Electrical energy storage allows handling intermittent congestions by simultaneous charging and discharging (using more storage units). Using this approach the power flow in lines can be changed without affecting the overall system and market balance [ENTSO-E, Storage and storage services, 2016]. | [5 empty] | SI NRA: Not able to assess. Benefit of reduction of necessary reserve for re-dispatch power plants is not mentioned in National Development Plan of the transmission system. | N/A

## Storage declared values
Storage Project No | Project name | Benefit ID | Benefit indicated | Monetised Value (M€/year) | Quantified Value (MWh) | Value of benefit at Scenario 1 (M€/year) | Value of benefit at Scenario 2 (M€/year)2 | Value of benefit at Scenario 3 (M€/year)3 | Value of benefit at Scenario 4 (M€/year)4 | ENTSO-E assessment: [redacted because ENTSO-E do not wish their assessment to be published] | NRAs assessment | NRA assessment code | Legent for NRA assessment / colour code
1006 | HPS AMFILOCHIA | 1 | B6 indicator: Security of Supply - Adequacy to meet demand |  |  | 10.05 | 3.83 | 103.31 | 3.12 |  | GR NRA: RAE is not able to assess the credibility of the monetised values of missing benefits, provided by the Project Promoter based on the ECCO S.A. study. However, it has to be noticed that the project is positively assessed by RAE in the context of the restructuring of the market and the massive deployment of RES units towards 2030. Particularly, there is a work in progress in Greece in order to evaluate the necessity for storage in the country (in the context of the binding implementation of RES targets) and if so to establish the necessary regulatory framework according to State Aid guidelines. In this context, the draft National Energy and Climate Plan (NECP), which has been submitted for approval in the EC, foresees that 700MW of storage projects are expected to be commissioned until the year 2030." | N/A | A: Approve
1006 | HPS AMFILOCHIA | 5 | B6 Indicator: Security of Supply – Adequacy to meet demand – Additional value for storage projects: Avoided investments in peaking capacity |  |  | 10.64 | 6.27 | 46.49 | 3.3 |  | GR NRA: RAE is not able to assess the credibility of the monetised values of missing benefits, provided by the Project Promoter based on the ECCO S.A. study. However, it has to be noticed that the project is positively assessed by RAE in the context of the restructuring of the market and the massive deployment of RES units towards 2030. Particularly, there is a work in progress in Greece in order to evaluate the necessity for storage in the country (in the context of the binding implementation of RES targets) and if so to establish the necessary regulatory framework according to State Aid guidelines. In this context, the draft National Energy and Climate Plan (NECP), which has been submitted for approval in the EC, foresees that 700MW of storage projects are expected to be commissioned until the year 2030." | N/A | R: Reject
1011 | "REVERSIBLE PUMPED-STORAGE HYDROELECTRIC EXPLOITATION ""MONT- NEGRE"" POWER 3,300 MW ZARAGOZA, SPAIN" | 3 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  |  | 140 | 182 | 134 | 102 |  |  |  | R: One NRA rejects and the other "no data" or "not able to assess"
1011 | "REVERSIBLE PUMPED-STORAGE HYDROELECTRIC EXPLOITATION ""MONT- NEGRE"" POWER 3,300 MW ZARAGOZA, SPAIN" | 5 | B6 Indicator: Security of Supply – Adequacy to meet demand – Additional value for storage projects: Avoided investments in peaking capacity | [9 empty] | D: Disagreement
1015 | Cruachan II | 1 | B6 indicator: Security of Supply - Adequacy to meet demand | [9 empty] | N/A: Cannot assess
1015 | Cruachan II | 3 | Monetarisation of B7 indicator Security of Supply – System Flexibility | [9 empty] | COR: Approved, but benefit was corrected
1019 | TWO REVERSIBLE HIDROELECTRIC PLANTS: GIRONES & RAIMATS IN SPAIN | 1 | B6 indicator: Security of Supply - Adequacy to meet demand |  | The proposed index is proportional to the quality of storage by pumping. The higher the index, the better quality and the optimization of it. It favors the pure pumping with respect to the mixed one since the surface of the maximum water sheets of the constructed rafts is smaller than when an existing reservoir is used as a lower raft. The number of modules improves the maintenance capacity of the installation without stopping its operation. Units to be used: N: number of total modules in which the rafts are compartmented; C = CAPEX in €M ; E = STORED ENERGY in Gwh; S = maximum surface of the sheet in lower rafts + maximum surface of water sheet in upper rafts in Hectares: Formula: N + E / (C * S)*10^5
1025 | Silvermines Hydroelectric Power Station | 5 | B6 Indicator: Security of Supply – Adequacy to meet demand – Additional value for storage projects: Avoided investments in peaking capacity | 23.0 | Monetarised value provided
1025 | Silvermines Hydroelectric Power Station | 3 | Monetarisation of B7 indicator Security of Supply – System Flexibility | 4.0 | Monetized value provided
1029 | PSPP Kozjak | 1 | B6 indicator: Security of Supply - Adequacy to meet demand |  | Interruptions in electricity supply can cause extensive damage to the consumers due to the unavailability of the functions, products and activities that are dependent upon electricity. A study was carried out for the Slovenian NRA which assessed a cost of ENS among the Slovenian electricity consumers. Product of the ENS MWh values, provided by the CBA, and specific ENS costs in EUR/MWh, can be used as a monetary value of the benefit gained by lowering the ENS when PSPP Kozjak is installed in the power system. | [5 empty] | SI NRA: missing information, studies are in progrees. | R
1029 | PSPP Kozjak | 3 | Monetarisation of B7 indicator Security of Supply – System Flexibility |  | State of the art PSPPs are able to provide quality ancillary services which are essential for the reliable electric power system operation. Additionally, those services can be provided in both operating regimes – while pumping and generating. Benefits of providing system services can be monetized relatively easy when services are traded on the organized markets (i.e. balancing reserves). On the other side some of those services are highly locational (i.e. voltage control, black start) and there is usually limited number of providers available. Bilateral contracts between TSO and provider are common way to acquire those services. Since contract details are usually not publicly available it is more complicated to monetarize gained benefits. | [5 empty] | SI NRA: missing information, studies are in progrees. | R
1029 | PSPP Kozjak | 5 | B6 Indicator: Security of Supply – Adequacy to meet demand – Additional value for storage projects: Avoided investments in peaking capacity |  |  Actual demand for frequency control reserve capacity, i.e. manual FRR, in Slovenian EPS is extremely high (in relation to installed capacity). Because of the largest generation unit criteria (lignite-fired unit 6 in Sostanj), Slovenian EPS needs 550 MW of mFRR. This represents share which is very high with regard to installed generating capacity of the system and amounts to 17%, which is one of the highest in EU. Most of the reserve capacities are fossil fuels based. With regard to long-term horizon, no changes could be expected, so OCGTs will be the main sources for fast reserve. PSPP Kozjak could make a step forward for faster and more flexible power reserve structure in the system. The benefit will not be only from technical point of view, but also from economic and environmental point. PSPP Kozjak could be also a regional ancillary services provider, especially for FCR and FRR based on using exchange or sharing mechanisms. | [5 empty] | SI NRA: missing information, studies are in progrees. | R

## TYNDP Project names
TYNDP No | Name
1 | RES in north of Portugal
1 | RES in north of Portugal
1 | RES in north of Portugal
4 | Interconnection Portugal-Spain
4 | Interconnection Portugal-Spain
4 | Interconnection Portugal-Spain
4 | Interconnection Portugal-Spain
13 | Baza project
16 | Biscay Gulf
16 | Biscay Gulf
16 | Biscay Gulf
16 | Biscay Gulf
21 | Italy-France
21 | Italy-France
21 | Italy-France
21 | Italy-France
23 | FR-BE: Avelin/Mastaing-Avelgem-Horta HTLS
23 | FR-BE: Avelin/Mastaing-Avelgem-Horta HTLS
23 | FR-BE: Avelin/Mastaing-Avelgem-Horta HTLS
25 | IFA2
26 | Reschenpass Interconnector Project
26 | Reschenpass Interconnector Project
26 | Reschenpass Interconnector Project
26 | Reschenpass Interconnector Project
28 | Italy-Montenegro
28 | Italy-Montenegro
28 | Italy-Montenegro
28 | Italy-Montenegro
29 | Italy-Tunisia
29 | Italy-Tunisia
29 | Italy-Tunisia
29 | Italy-Tunisia
31 | Italy-Switzerland
31 | Italy-Switzerland
31 | Italy-Switzerland
31 | Italy-Switzerland
33 | Central Northern Italy
33 | Central Northern Italy
33 | Central Northern Italy
33 | Central Northern Italy
35 | CZ Southwest-east corridor
35 | CZ Southwest-east corridor
35 | CZ Southwest-east corridor
35 | CZ Southwest-east corridor
36 | Kriegers Flak CGS
36 | Kriegers Flak CGS
36 | Kriegers Flak CGS
36 | Kriegers Flak CGS
37 | Norway - Germany, NordLink
37 | Norway - Germany, NordLink
37 | Norway - Germany, NordLink
37 | Norway - Germany, NordLink
39 | DKW-DE, step 3
39 | DKW-DE, step 3
39 | DKW-DE, step 3
40 | Belgium-Luxembourg-Germany: long-term perspective
40 | Belgium-Luxembourg-Germany: long-term perspective
47 | Westtirol - Vöhringen
47 | Westtirol - Vöhringen
47 | Westtirol - Vöhringen
48 | New SK-HU intercon. - phase 1
48 | New SK-HU intercon. - phase 1
48 | New SK-HU intercon. - phase 1
62 | Estonia-Latvia 3rd IC
71 | COBRA cable
71 | COBRA cable
71 | COBRA cable
71 | COBRA cable
74 | Thames Estuary Cluster (NEMO-Link)
74 | Thames Estuary Cluster (NEMO-Link)
74 | Thames Estuary Cluster (NEMO-Link)
74 | Thames Estuary Cluster (NEMO-Link)
75 | Modular Offshore Grid (MOG)
75 | Modular Offshore Grid (MOG)
77 | Anglo-Scottish -1
77 | Anglo-Scottish -1
77 | Anglo-Scottish -1
77 | Anglo-Scottish -1
78 | South West Cluster
78 | South West Cluster
81 | North South Interconnector
81 | North South Interconnector
81 | North South Interconnector
82 | RIDP I
85 | Integration of RES in Alentejo
92 | ALEGrO
92 | ALEGrO
92 | ALEGrO
92 | ALEGrO
94 | GerPol Improvements
94 | GerPol Improvements
94 | GerPol Improvements
96 | Keminmaa-Pyhänselkä
96 | Keminmaa-Pyhänselkä
96 | Keminmaa-Pyhänselkä
96 | Keminmaa-Pyhänselkä
103 | Reinforcements Ring NL phase I
103 | Reinforcements Ring NL phase I
103 | Reinforcements Ring NL phase I
107 | Celtic Interconnector
107 | Celtic Interconnector
107 | Celtic Interconnector
107 | Celtic Interconnector
110 | Norway-Great Britain, North Sea Link
110 | Norway-Great Britain, North Sea Link
110 | Norway-Great Britain, North Sea Link
110 | Norway-Great Britain, North Sea Link
111 | 3rd AC Finland-Sweden north
111 | 3rd AC Finland-Sweden north
111 | 3rd AC Finland-Sweden north
111 | 3rd AC Finland-Sweden north
113 | Doetinchem - Niederrhein
113 | Doetinchem - Niederrhein
113 | Doetinchem - Niederrhein
113 | Doetinchem - Niederrhein
120 | MOG II: connection of up to 2 GW additional offshore wind Belgium
120 | MOG II: connection of up to 2 GW additional offshore wind Belgium
121 | Nautilus: 2nd interconnector Belgium - UK
121 | Nautilus: 2nd interconnector Belgium - UK
121 | Nautilus: 2nd interconnector Belgium - UK
121 | Nautilus: 2nd interconnector Belgium - UK
123 | LitPol Link Stage 2
123 | LitPol Link Stage 2
123 | LitPol Link Stage 2
124 | NordBalt phase 2
124 | NordBalt phase 2
124 | NordBalt phase 2
126 | SE North-south reinforcements
126 | SE North-south reinforcements
126 | SE North-south reinforcements
126 | SE North-south reinforcements
127 | Central Southern Italy
127 | Central Southern Italy
127 | Central Southern Italy
127 | Central Southern Italy
130 | HVDC SuedOstLink Wolmirstedt to area Isar
130 | HVDC SuedOstLink Wolmirstedt to area Isar
130 | HVDC SuedOstLink Wolmirstedt to area Isar
130 | HVDC SuedOstLink Wolmirstedt to area Isar
132 | HVDC Line A-North
132 | HVDC Line A-North
132 | HVDC Line A-North
132 | HVDC Line A-North
134 | North-South Corridor in Western Germany (section South)
134 | North-South Corridor in Western Germany (section South)
134 | North-South Corridor in Western Germany (section South)
135 | N-S Western DE_parallel lines
138 | Black Sea Corridor
138 | Black Sea Corridor
138 | Black Sea Corridor
142 | CSE4
142 | CSE4
144 | Mid Continental East corridor
144 | Mid Continental East corridor
144 | Mid Continental East corridor
150 | Italy-Slovenia
150 | Italy-Slovenia
150 | Italy-Slovenia
150 | Italy-Slovenia
153 | France-Alderney-Britain
153 | France-Alderney-Britain
153 | France-Alderney-Britain
153 | France-Alderney-Britain
164 | N-S Eastern DE_central section
164 | N-S Eastern DE_central section
164 | N-S Eastern DE_central section
164 | N-S Eastern DE_central section
167 | Viking DKW-GB
167 | Viking DKW-GB
167 | Viking DKW-GB
167 | Viking DKW-GB
170 | Baltics synchro with CE
170 | Baltics synchro with CE
172 | ElecLink
172 | ElecLink
172 | ElecLink
173 | FR-BE: PSTs Aubange-Moulaine
173 | FR-BE: PSTs Aubange-Moulaine
173 | FR-BE: PSTs Aubange-Moulaine
174 | Greenconnector
174 | Greenconnector
174 | Greenconnector
174 | Greenconnector
175 | Great Belt II
176 | Hansa PowerBridge I
176 | Hansa PowerBridge I
176 | Hansa PowerBridge I
179 | DKE - DE (Kontek2)
179 | DKE - DE (Kontek2)
183 | DKW-DE, Westcoast
183 | DKW-DE, Westcoast
183 | DKW-DE, Westcoast
186 | east of Austria
186 | east of Austria
186 | east of Austria
187 | St. Peter (AT) - Pleinting (DE)
187 | St. Peter (AT) - Pleinting (DE)
187 | St. Peter (AT) - Pleinting (DE)
187 | St. Peter (AT) - Pleinting (DE)
190 | NorthConnect
190 | NorthConnect
190 | NorthConnect
190 | NorthConnect
191 | OWP TenneT Northsea Part 2
192 | OWP Northsea TenneT Part 3
193 | Godelleta-Morella/La Plana
193 | Godelleta-Morella/La Plana
194 | Cartuja
197 | N-S Finland P1 stage 2
197 | N-S Finland P1 stage 2
197 | N-S Finland P1 stage 2
200 | CZ Northwest-South corridor
200 | CZ Northwest-South corridor
200 | CZ Northwest-South corridor
200 | CZ Northwest-South corridor
203 | Morella-La Plana (previosly Aragón-Castellon)
203 | Morella-La Plana (previosly Aragón-Castellon)
206 | Reinforcement Southern Germany
206 | Reinforcement Southern Germany
206 | Reinforcement Southern Germany
207 | Reinforcement Northwestern DE
207 | Reinforcement Northwestern DE
207 | Reinforcement Northwestern DE
208 | N-S Western DE_section North_1
208 | N-S Western DE_section North_1
208 | N-S Western DE_section North_1
208 | N-S Western DE_section North_1
209 | Reinforcement Northeastern DE
209 | Reinforcement Northeastern DE
209 | Reinforcement Northeastern DE
210 | Wurmlach (AT) - Somplago (IT) interconnection
210 | Wurmlach (AT) - Somplago (IT) interconnection
210 | Wurmlach (AT) - Somplago (IT) interconnection
214 | Interco Iceland-UK
219 | EuroAsia Interconnector
225 | 2nd interconnector Belgium - Germany
225 | 2nd interconnector Belgium - Germany
225 | 2nd interconnector Belgium - Germany
225 | 2nd interconnector Belgium - Germany
227 | Transbalkan Corridor
227 | Transbalkan Corridor
228 | Muhlbach - Eichstetten
228 | Muhlbach - Eichstetten
228 | Muhlbach - Eichstetten
228 | Muhlbach - Eichstetten
229 | GerPol Power Bridge II
229 | GerPol Power Bridge II
229 | GerPol Power Bridge II
230 | GerPol Power Bridge I
230 | GerPol Power Bridge I
230 | GerPol Power Bridge I
231 | Concept project Germany-Switzerland
231 | Concept project Germany-Switzerland
231 | Concept project Germany-Switzerland
231 | Concept project Germany-Switzerland
233 | Connection of Aragon Pumping hydro
233 | Connection of Aragon Pumping hydro
234 | DKE - PL-1
234 | DKE - PL-1
235 | HVDC SuedLink Brunsbüttel/Wilster to Großgartach/Grafenrheinfeld
235 | HVDC SuedLink Brunsbüttel/Wilster to Großgartach/Grafenrheinfeld
235 | HVDC SuedLink Brunsbüttel/Wilster to Großgartach/Grafenrheinfeld
235 | HVDC SuedLink Brunsbüttel/Wilster to Großgartach/Grafenrheinfeld
236 | Internal Belgian Backbone West: HTLS upgrade Horta-Mercator
236 | Internal Belgian Backbone West: HTLS upgrade Horta-Mercator
239 | Fenno-Skan 1 renewal
239 | Fenno-Skan 1 renewal
239 | Fenno-Skan 1 renewal
239 | Fenno-Skan 1 renewal
240 | 380-kV-grid enhancement between Area Güstrow and Wolmirstedt
240 | 380-kV-grid enhancement between Area Güstrow and Wolmirstedt
240 | 380-kV-grid enhancement between Area Güstrow and Wolmirstedt
240 | 380-kV-grid enhancement between Area Güstrow and Wolmirstedt
241 | Upgrading of existing 220 kV lines between HR and BA to 400 kV lines
242 | Offshore Wind Baltic Sea (I)
242 | Offshore Wind Baltic Sea (I)
243 | New 400 kV interconnection line between Serbia and Croatia
244 | Vigy - Uchtelfangen area
244 | Vigy - Uchtelfangen area
244 | Vigy - Uchtelfangen area
244 | Vigy - Uchtelfangen area
245 | Upgrade Meeden - Diele
245 | Upgrade Meeden - Diele
245 | Upgrade Meeden - Diele
245 | Upgrade Meeden - Diele
247 | AQUIND Interconnector
247 | AQUIND Interconnector
247 | AQUIND Interconnector
247 | AQUIND Interconnector
248 | Offshore Wind Baltic Sea (II)
248 | Offshore Wind Baltic Sea (II)
250 | Merchant line Castasegna (CH) - Mese (IT)
250 | Merchant line Castasegna (CH) - Mese (IT)
250 | Merchant line Castasegna (CH) - Mese (IT)
250 | Merchant line Castasegna (CH) - Mese (IT)
251 | Audorf-Dollern
251 | Audorf-Dollern
251 | Audorf-Dollern
252 | Internal Belgian Backbone Center-East: HTLS upgrade Massenhoven-VanEyck-Gramme-Courcelles-Bruegel-Mercator
252 | Internal Belgian Backbone Center-East: HTLS upgrade Massenhoven-VanEyck-Gramme-Courcelles-Bruegel-Mercator
252 | Internal Belgian Backbone Center-East: HTLS upgrade Massenhoven-VanEyck-Gramme-Courcelles-Bruegel-Mercator
253 | Upstream reinforcement in France to increase FR-CH capacity
253 | Upstream reinforcement in France to increase FR-CH capacity
253 | Upstream reinforcement in France to increase FR-CH capacity
254 | HVDC Ultranet Osterath to Philippsburg
254 | HVDC Ultranet Osterath to Philippsburg
254 | HVDC Ultranet Osterath to Philippsburg
254 | HVDC Ultranet Osterath to Philippsburg
255 | Connection Navarra-Basque Country
255 | Connection Navarra-Basque Country
256 | Study to upgrade interconnection DE-NL
256 | Study to upgrade interconnection DE-NL
256 | Study to upgrade interconnection DE-NL
256 | Study to upgrade interconnection DE-NL
258 | Westcoast line
258 | Westcoast line
258 | Westcoast line
259 | HU-RO
259 | HU-RO
259 | HU-RO
260 | New Great Britain - Netherlands interconnection
260 | New Great Britain - Netherlands interconnection
260 | New Great Britain - Netherlands interconnection
260 | New Great Britain - Netherlands interconnection
262 | Belgium-Netherlands: Zandvliet-Rilland
262 | Belgium-Netherlands: Zandvliet-Rilland
262 | Belgium-Netherlands: Zandvliet-Rilland
262 | Belgium-Netherlands: Zandvliet-Rilland
263 | Lake Constance East
263 | Lake Constance East
263 | Lake Constance East
264 | Swiss Roof I
264 | Swiss Roof I
264 | Swiss Roof I
265 | Tessin
265 | Tessin
265 | Tessin
266 | Swiss Ellipse I
266 | Swiss Ellipse I
266 | Swiss Ellipse I
267 | Hansa PowerBridge II
267 | Hansa PowerBridge II
267 | Hansa PowerBridge II
269 | Uprate the western 220kV Sevilla Ring
269 | Uprate the western 220kV Sevilla Ring
269 | Uprate the western 220kV Sevilla Ring
270 | FR-ES project -Aragón-Atlantic Pyrenees
270 | FR-ES project -Aragón-Atlantic Pyrenees
270 | FR-ES project -Aragón-Atlantic Pyrenees
270 | FR-ES project -Aragón-Atlantic Pyrenees
271 | Northern Seas Offshore Grid infrastructure"" - a Long Term Conceptual Project
271 | Northern Seas Offshore Grid infrastructure"" - a Long Term Conceptual Project
271 | Northern Seas Offshore Grid infrastructure"" - a Long Term Conceptual Project
276 | FR-ES project -Navarra-Landes
276 | FR-ES project -Navarra-Landes
276 | FR-ES project -Navarra-Landes
276 | FR-ES project -Navarra-Landes
280 | FR-BE: study Lonny-Achene-Gramme
280 | FR-BE: study Lonny-Achene-Gramme
280 | FR-BE: study Lonny-Achene-Gramme
280 | FR-BE: study Lonny-Achene-Gramme
283 | TuNur
283 | TuNur
284 | LEG1
284 | LEG1
284 | LEG1
284 | LEG1
285 | GridLink
285 | GridLink
285 | GridLink
285 | GridLink
286 | Greenlink
286 | Greenlink
286 | Greenlink
286 | Greenlink
293 | Southern Aegean Interconnector
293 | Southern Aegean Interconnector
293 | Southern Aegean Interconnector
294 | Maali
294 | Maali
294 | Maali
294 | Maali
296 | Britib
296 | Britib
296 | Britib
296 | Britib
296 | Britib
296 | Britib
296 | Britib
296 | Britib
297 | BRABO II + III
297 | BRABO II + III
297 | BRABO II + III
297 | BRABO II + III
299 | SACOI3
299 | SACOI3
299 | SACOI3
299 | SACOI3
309 | NeuConnect
309 | NeuConnect
309 | NeuConnect
309 | NeuConnect
312 | St. Peter - Tauern (AT internal)
312 | St. Peter - Tauern (AT internal)
312 | St. Peter - Tauern (AT internal)
312 | St. Peter - Tauern (AT internal)
313 | Isar/Altheim/Ottenhofen (DE) - St.Peter (AT)
313 | Isar/Altheim/Ottenhofen (DE) - St.Peter (AT)
313 | Isar/Altheim/Ottenhofen (DE) - St.Peter (AT)
316 | Upgrade of 220 kV line Bericevo-Divaca to 400 kV
316 | Upgrade of 220 kV line Bericevo-Divaca to 400 kV
317 | Upgrade of 220 kV line Podlog-Bericevo to 400 kV
317 | Upgrade of 220 kV line Podlog-Bericevo to 400 kV
318 | Upgrade of 220 kV line Podlog-Cirkovce to 400 kV
318 | Upgrade of 220 kV line Podlog-Cirkovce to 400 kV
320 | Slovenia-Hungary/Croatia interconnection
320 | Slovenia-Hungary/Croatia interconnection
320 | Slovenia-Hungary/Croatia interconnection
321 | Herbertingen - Tiengen
322 | Wullenstetten - Border Area (DE-AT)
322 | Wullenstetten - Border Area (DE-AT)
323 | Dekani (SI) - Zaule (IT) interconnection
323 | Dekani (SI) - Zaule (IT) interconnection
323 | Dekani (SI) - Zaule (IT) interconnection
323 | Dekani (SI) - Zaule (IT) interconnection
324 | Redipuglia (IT) - Vrtojba (SI) interconnection
324 | Redipuglia (IT) - Vrtojba (SI) interconnection
324 | Redipuglia (IT) - Vrtojba (SI) interconnection
324 | Redipuglia (IT) - Vrtojba (SI) interconnection
325 | AT, SI, IT - South-East Alps Project
325 | AT, SI, IT - South-East Alps Project
325 | AT, SI, IT - South-East Alps Project
328 | Interconnector DE-LUX
328 | Interconnector DE-LUX
329 | Stevin-Izegem/Avelgem (Kustlus): new corridor
329 | Stevin-Izegem/Avelgem (Kustlus): new corridor
329 | Stevin-Izegem/Avelgem (Kustlus): new corridor
330 | 4th 400kV CZ-SK interconnector
330 | 4th 400kV CZ-SK interconnector
333 | PST Foretaille
333 | PST Foretaille
333 | PST Foretaille
335 | North Sea Wind Power Hub
335 | North Sea Wind Power Hub
335 | North Sea Wind Power Hub
335 | North Sea Wind Power Hub
336 | Prati (IT) – Steinach (AT)
336 | Prati (IT) – Steinach (AT)
336 | Prati (IT) – Steinach (AT)
336 | Prati (IT) – Steinach (AT)
337 | Conneforde-Merzen
337 | Conneforde-Merzen
337 | Conneforde-Merzen
337 | Conneforde-Merzen
338 | Adriatic HVDC link
338 | Adriatic HVDC link
338 | Adriatic HVDC link
338 | Adriatic HVDC link
339 | Italian HVDC tri-terminal link
339 | Italian HVDC tri-terminal link
339 | Italian HVDC tri-terminal link
339 | Italian HVDC tri-terminal link
340 | Avelgem-Center: new corridor
340 | Avelgem-Center: new corridor
340 | Avelgem-Center: new corridor
340 | Avelgem-Center: new corridor
341 | North CSE Corridor
341 | North CSE Corridor
342 | Central Balkan Corridor
343 | CSE1 New
343 | CSE1 New
344 | Reinforcements Ring NL phase II
344 | Reinforcements Ring NL phase II
344 | Reinforcements Ring NL phase II
345 | Northern East-West connection NL
345 | Northern East-West connection NL
345 | Northern East-West connection NL
346 | ZuidWest380 NL
346 | ZuidWest380 NL
346 | ZuidWest380 NL
347 | Maasvlakte – Noord Brabant connection NL
347 | Maasvlakte – Noord Brabant connection NL
347 | Maasvlakte – Noord Brabant connection NL
348 | NoordWest380 NL
348 | NoordWest380 NL
348 | NoordWest380 NL
349 | MAREX Organic Power Interconnector
349 | MAREX Organic Power Interconnector
349 | MAREX Organic Power Interconnector
349 | MAREX Organic Power Interconnector
350 | South Balkan Corridor
351 | Eastern HVDC Link
351 | Eastern HVDC Link
351 | Eastern HVDC Link
351 | Eastern HVDC Link
375 | Lienz (AT) - Veneto region (IT) 220 kV
375 | Lienz (AT) - Veneto region (IT) 220 kV
375 | Lienz (AT) - Veneto region (IT) 220 kV
375 | Lienz (AT) - Veneto region (IT) 220 kV
376 | Refurbishment of the 400kV Meliti(GR)-Bitola(MK) interconnector
376 | Refurbishment of the 400kV Meliti(GR)-Bitola(MK) interconnector
376 | Refurbishment of the 400kV Meliti(GR)-Bitola(MK) interconnector
377 | Upgrade BE-NL interconnector VanEyck-Maasbracht
377 | Upgrade BE-NL interconnector VanEyck-Maasbracht
377 | Upgrade BE-NL interconnector VanEyck-Maasbracht
377 | Upgrade BE-NL interconnector VanEyck-Maasbracht
378 | Transformer Gatica
378 | Transformer Gatica
378 | Transformer Gatica
378 | Transformer Gatica
379 | Uprate Gatica lines
379 | Uprate Gatica lines
379 | Uprate Gatica lines
379 | Uprate Gatica lines
381 | OWP Northsea Part 4
1000 | Hydro Pump Storage Power Plant Pfaffenboden in Molln
1001 | Kaunertal Extension Project
1002 | iLand
1003 | Hydro-pumped storage in Bulgaria - Yadenitsa
1004 | Estonian PHES (pumped-hydro energy storage)
1006 | HPS AMFILOCHIA
1009 | Kruonis pumped storage power plant extension project
1011 | "REVERSIBLE PUMPED-STORAGE HYDROELECTRIC EXPLOITATION ""MONT- NEGRE"" POWER 3,300 MW ZARAGOZA, SPAIN"
1012 | Purifying -Pumped Hydroelectric Energy Storage (P-PHES Navaleo)
1013 | CAES Zuidwending, NL
1014 | Coire Glas
1015 | Cruachan II
1019 | TWO REVERSIBLE HIDROELECTRIC PLANTS: GIRONES & RAIMATS IN SPAIN
1022 | CARES (Compressed Air Renewable Energy Storage)
1023 | Cheshire Gas CAES
1025 | Silvermines Hydroelectric Power Station
1026 | Hydro pumped storage Riedl
1027 | P-PHES CUA
1029 | PSPP Kozjak
1030 | MAREX Organic Power Energy Storage